## Carrier
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
OEM Pricing
The following items represent previous purchases from OEM suppliers and the items must be OEM only. If any item is not OEM it will be moved to general parts and supplies. The OEM supplier will bid the items listed. This list does not capture all the purchases and the supplier shall provide a % discount received from the manufacturer at the bottom of each section, for any OEM parts not covered.
Manufacturer | Manufacturer's Part Number | Description: | Suppliers Manufacturer/Part Number (if different) | Estimated Annual Usage | Unit Price Each | Extended Price (EAU x Unit Price)
Carrier | 33ZCT56SPT | SPACE TEMP W/OVERRIDE & |  | 4
Carrier | CEPL130343-01 | TELINK WITH POWER |  | 4
Carrier | 00PPG000007202A | MOTOR FAN 3HP/3PH |  | 18
Carrier | 00PPG000008203A | SWITCH HIGH PRESSURE |  | 4
Carrier | 00PPG000030600A | TRANSDUCER |  | 5
Carrier | 00PPG000030700A | TRANSDUCER |  | 5
Carrier | 06EA660167 | CRANKCASE HEATER 115VOLT |  | 18
Carrier | 06NA660028 | FILTER AND O RING KIT |  | 29
Carrier | 30GB660002 | THERMISTOR/SENSOR |  | 70
Carrier | 30GT515217 | PROGRAMMED EXV |  | 7
Carrier | 30GT515219 | PROGRAMMED CXB |  | 4
Carrier | 30GX660006 | HSIO II LOCAL INTERFACE |  | 5
Carrier | 30GX660017 | FAN W/ SPACER KIT |  | 34
Carrier | 30RB660036 | SENSOR KIT |  | 74
Carrier | 30RB660038 | FAN PROP KIT |  | 19
Carrier | 32GB660012 | EXV CABLE & GREASE ASY. |  | 5
Carrier | 39TA-R081380410 | 8-T TXV DISCHARGE 1-3/8 |  | 4
Carrier | 3RT10162AB01 | CONTACTOR |  | 23
Carrier | 4004TA | OIL FILTER ASSY. |  | 4
Carrier | 485OP | RS 485 ISOLATED |  | 6
Carrier | 50DK406816 | INDUCER MOTOR ASSEMBLY |  | 7
Carrier | 50HJ403022 | IGNITOR |  | 6
Carrier | 6E265TL360T | COMPRESSOR 208/230/460-3 |  | 5
Carrier | 8TB0274 | O-RING |  | 10
Carrier | 8TB0276 | O-RING |  | 11
Carrier | 8TB0884 | SOLENOID OIL VALVE |  | 4
Carrier | 907990050-5 | ACTUATOR |  | 6
Carrier | DE14CA126 | SAE MALE X NPT FEMAL |  | 9
Carrier | EF19ZE024 | UNLOADER COIL |  | 11
Carrier | EP23LC090 | ANGLE VALVE |  | 9
Carrier | F160-50022402 | BEARING CUSHION/ISOLATOR |  | 16
Carrier | G020-70584701 | BEARING |  | 8
Carrier | G020-71501901 | ISOLATOR |  | 8
Carrier | HC39GE468 | MOTOR |  | 9
Carrier | HD52AK653 | MOTOR 208-230-460/3 CC |  | 42
Carrier | HD56AK651 | MOTOR |  | 9
Carrier | HD56AK653 | MOTOR |  | 15
Carrier | HH18HZ195 | LIMIT SWITCH |  | 4
Carrier | HH79NZ029 | THERMISTER SENSOR |  | 38
Carrier | HK02ZA442 | PRESSURE SWITCH |  | 9
Carrier | HK05YZ001 | TRANSDUCER |  | 7
Carrier | HK05YZ007 | PRESSURE TRANSDUCER |  | 15
Carrier | HK50AA031 | PROGRAMMED STD.TIER |  | 19
Carrier | HN53CD115 | CONTACTOR THREE POLE |  | 23
Carrier | HN53HF122 | CONTACTOR THREE POLE |  | 12
Carrier | HN61KK025 | CONTROL RELAY |  | 9
Carrier | HN61KL023 | RELAY |  | 4
Carrier | HN65CT011 | RELAY LOCKOUT |  | 6
Carrier | HR81LD001 | FLOW SWITCH |  | 6
Carrier | HR81LG020 | FLOW SWITCH |  | 5
Carrier | HR81LG025 | FLOW SWITCH |  | 8
Carrier | KK71GW015 | GASKET |  | 6
Carrier | KT63ZZ098 | BEARING |  | 4
Carrier | LA01EW032 | FAN PROP |  | 48
Carrier | LA01RA028 | FAN PROP |  | 13
Carrier | LA22LA125 | BLOWER WHEEL |  | 4
Carrier | LA660001 | BLOWER WHEEL |  | 4
Carrier | P282-0332A | CONTACTOR 3POLE 30A |  | 6
Carrier | P291-0504 | RUN CAPACITOR OVAL 440V |  | 7
Carrier | P291-0754 | RUN CAPACITOR OVAL 440V |  | 7
Carrier | P291-1004 | RUN CAPACITOR OVAL 440V |  | 6
Carrier | P291-1013 | RUN CAPACITOR OVAL 370V |  | 8
Carrier | P291-1254 | RUN CAPACITOR OVAL 440V |  | 5
Carrier | P291-1504 | RUN CAPACITOR OVAL 440V |  | 5
Carrier | P461-2102 | BEARING |  | 14
Carrier | P463-A46 | V-BELT |  | 4
Carrier | P506-8D48 | STD DRIER CORE |  | 24
Carrier | P506-8W48 | BURNOUT DRIER |  | 4
Carrier | S-4004UA | OIL FILTER |  | 16
Carrier | TP-CAP-10/440 | TRADEPRO OVAL CAP |  | 5
Carrier | TP-CAP-20/440 | TRADEPRO OVAL CAP |  | 4
Carrier | TP-CAP-30/7.5/440R | TRADEPRO DUAL RND CAP |  | 6
Carrier | TP-CAP-4/440 | TRADEPRO OVAL CAP |  | 4
Carrier | TP-CAP-45/7.5/440R | TRADEPRO DUAL RND CAP |  | 6
Carrier | TP-CAP-5/370 | TRADEPRO OVAL CAP |  | 6
Carrier | TP-CAP-5/440 | TRADEPRO OVAL CAP |  | 5
Carrier | TP-CAP-7.5/440 | TRADEPRO OVAL CAP |  | 11
Carrier | TP-CON-2/24/40 | TRADEPRO 2POLE 24VAC |  | 7
Carrier | TP-CON-3/24/40 | TRADEPRO 3POLE 24VAC |  | 22
Carrier | TT-LLD083S | TOPTECH 3/8S 8CI LL-DRIE |  | 11
Carrier | TT-LLD163S | TOPTECH 3/8S 16CI LL-DRI |  | 4
Carrier | 00PPG000003100A | FLOW SWITCH |  | 33
Carrier | 30GX502820 | OIL FILTER |  | 5
Carrier | 50BA414752 | BRACKET |  | 7
Carrier | P903-1001 | 134A OIL GAL ACD68AW |  | 4
Carrier | P903-2301 | OIL |  | 19
Carrier | TH3110D1008 | HONEYWELL THERMOSTAT |  | 9
Carrier | TP-PVC-401007A | 401-007 3/4 SXSXS TEE |  | 10
Carrier | TP-PVC-406007A | 406-007 3/4 SXS 90 DEG |  | 10
Carrier | TP-PVC-435007A | 435-007 3/4 SXF FE ADPTR |  | 10
Carrier | TP-PVC-436007A | 436-007 3/4 MXS MALE |  | 10
Carrier | TP-TERM-BQDFFI250 | FULLY INSL QK DISC |  | 5
Carrier | TT-N-701 | TOPTECH 1H/1C HC/HP NP |  | 8
Carrier | 120610 | FS254 FLOW SWITCH |  | 5
Carrier
Please list the available discounts received for general categories by this manufacturer. It should be grouped by product category i.e. motors, capacitors, plenums, etc.
| Product Categories | % Discount from manufacturers for OEM parts

## Trane
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
OEM Pricing
The following items represent previous purchases from OEM suppliers and the items must be OEM only. If any item is not OEM it will be moved to general parts and supplies. The OEM supplier will bid the items listed. This list does not capture all the purchases and the supplier shall provide a % discount received from the manufacturer at the bottom of each section, for any OEM parts not covered.
Manufacturer | Manufacturer's Part Number | Description: | Suppliers Manufacturer/Part Number (if different) | Estimated Annual Usage | Unit Price Each | Extended Price (EAU x Unit Price)
Trane | IN007427 - MOT09585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 8
Trane | IN007430 - KIT12559 | KIT, WIRE HARNESS ADP.;FEMALE GLOBAL CONN. TO 4 |  | 6
Trane | IN007145 - AX35 | BELT, AX35/4L370 37" OD; |  | 5
Trane | IN007145 - CTR02576 | CONTACTOR, 2P 40A;24 VAC/SCREWS |  | 4
Trane | IN007160 - VAL07494 | VALVE, SERVICE,;1.125-12 X .38 X .75 |  | 4
Trane | IN007160 - RNG01764 | O-RING, .924 ID X .116;RD. |  | 4
Trane | IN005308 - MOT09584 | MOTOR, 1/4 HP, 115/60/1;1050 RPM |  | 12
Trane | IN005308 - MOT09585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 12
Trane | IN005331 - SEN02133 | SENSOR~; TEMP SENSOR;OVERMOLDED, PROG REQUIRD |  | 6
Trane | IN002641 - HUS01207 | HOUSING, PLUG, 6 PIN; |  | 4
Trane | IN002641 - SWT03732 | SWITCH TOGGLE 3PDT ON/OFF/ON .25QC TERM |  | 4
Trane | IN002641 - MOT09584 | MOTOR, 1/4 HP, 115/60/1;1050 RPM |  | 4
Trane | IN000092 - MOT010483 | MOTOR, 1.5 HP;1140 RPM 3PH 56HZ 2.7 AM |  | 4
Trane | IN000092 - FAN04078 | FAN, 3 BLADE, 23 DEGREE;PITCH |  | 4
Trane | 1410385-00 - SEN02133 | SENSOR~; TEMP SENSOR;OVERMOLDED, PROG REQUIRD |  | 5
Trane | 1410385-00 - KIT12559 | KIT, WIRE HARNESS ADP.;FEMALE GLOBAL CONN. TO 4 |  | 5
Trane | 1408924-00 - CNT03670 | CONTROL, LIMIT TEMP 225;OPEN SPST 500VA 120-600V |  | 6
Trane | 1408924-00 - CNT03670 | CONTROL, LIMIT TEMP 225;OPEN SPST 500VA 120-600V |  | 4
Trane | 1377265-00 - SWT03533 | SWITCH, AUX, 1SPDT FOR;20A-60A CONTACTORS |  | 4
Trane | 1376754-00 - MOT06800 | FAN MOTOR, 1.5 HP;460V/200-230V 1140 RPM 1 |  | 7
Trane | 1376754-00 - FAN04082 | FAN, 3 BLADE, 30IN, 27;PITCH , STAKED HUM |  | 7
Trane | 1359936-00 - COR00018 | CORE, REPLACEABLE FILTER;DRIER SC48 STD CAP. D- 48 |  | 4
Trane | 1377293-00 - MOT06800 | FAN MOTOR, 1.5 HP;460V/200-230V 1140 RPM 1 |  | 6
Trane | 1377293-00 - FAN04082 | FAN, 3 BLADE, 30IN, 27;PITCH , STAKED HUM |  | 6
Trane | 1369335-00 - DOR02240 | DOOR, ASSY. W/ ADHESIVE;FLIP-UP FOR UV RADIATION |  | 5
Trane | 1362543-00 - MOT09585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 6
Trane | 1362550-00 - MOT09585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 4
Trane | 1362556-00 - MOTO9585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 4
Trane | 1361454-00 - BX103 | BELT, BX103 106" OD; |  | 6
Trane | 1361462-00 - SEN02133 | SENSOR~; TEMP SENSOR;OVERMOLDED, PROG REQUIRD |  | 4
Trane | 1364460-00 - MOT09841 | MOTOR, 1/4 HP, 115/60/1;1050 RPM |  | 6
Trane | 1364460-00 - MOT09585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 6
Trane | 1358518-00 - MOT09584 | MOTOR, 1/4 HP, 115/60/1;1050 RPM |  | 6
Trane | 1358518-00 - MOT09585 | FAN MOTOR, 1/3HP;115/60/1, 900 RPM,SLEEVE |  | 6
Trane | 1332817-00 - WHL01891 | WHEEL; |  | 5
Trane | 1343861-00 - SEN00951 | SENSOR, TEMP. THERMISTOR;PROBE |  | 4
Trane | 1343861-00 - SEN00306 | SENSOR, LEAVING/ENETRING;WATER TEMP 15 TO 140F PR |  | 4
Trane | 1343559-00 - MOT09584 | MOTOR, 1/4 HP, 115/60/1;1050 RPM |  | 5
Trane | 1329149-00 - MOT06800 | FAN MOTOR, 1.5 HP;460V/200-230V 1140 RPM 1 |  | 4
Trane | 1329149-00 - FAN04082 | FAN, 3 BLADE, 30IN, 27;PITCH , STAKED HUM |  | 4
Trane | 1318165-00 - AX35 | BELT, AX35/4L370 37" OD; |  | 4
Trane | 1302929-00 - MOT09584 | MOTOR, 1/4 HP, 115/60/1;1050 RPM |  | 6
Trane | 1299284-00 - MOT09903 | FAN MOTOR, 1HP 460V 850;RPM 1.0 SF 3PH Y56Y CCWL |  | 4
Trane | 1299051-00 - HUS01207 | HOUSING, PLUG, 6 PIN; |  | 5
Trane | 1300546-00 - MOT09903 | FAN MOTOR, 1HP 460V 850;RPM 1.0 SF 3PH Y56Y CCWL |  | 4
Trane
Please list the available discounts received for general categories by this manufacturer. It should be grouped by product category i.e. motors, capacitors, plenums, etc.
| Product Categories | % Discount from manufacturers for OEM parts

## York
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
OEM Pricing
The following items represent previous purchases from OEM suppliers and the items must be OEM only. If any item is not OEM it will be moved to general parts and supplies. The OEM supplier will bid the items listed. This list does not capture all the purchases and the supplier shall provide a % discount received from the manufacturer at the bottom of each section, for any OEM parts not covered.
Manufacturer | Manufacturer's Part Number | Description: | Suppliers Manufacturer/Part Number (if different) | Estimated Annual Usage | Unit Price Each | Extended Price (EAU x Unit Price)
York | 024 31891 000 | Contactor |  | 10
York | 026 35601 000 | Filter |  | 10
York | 028 13849 000 | O-ring |  | 10
York | 025 29964 000 | Sensor |  | 10
York | 371 01180 223 | Sensor |  | 10
York | 026 37540 000 | Drier |  | 10
York | 024 31892 000 | Contactor |  | 10
York | 029 23454 000 | Key |  | 10
York | 024 36874 003 | Motor |  | 10
York | 024 35444 000 | Contactor |  | 10
York | S102638612000 | Assy Blower |  | 10
York | 024 34980 001 | Motor |  | 10
York | 024 34916 000 | Contactor |  | 10
York | 025 39683 000 | Fuse |  | 10
York | 024 27322 107 | Motor |  | 10
York | RADLC1D50G7 | Contactor |  | 10
York | 024 30978 000 | Keypad |  | 10
York | 025 40334 000 | Sensor |  | 10
York | 031 01110 000 | Display |  | 10
York | 371 01260 234 | Harness sensor |  | 10
York | 371 01260 242 | Harness sensor |  | 10
York | 025 40900 004 | TXV |  | 10
York | 025 43503 000 | Sensor |  | 10
York | 031 02805 000 | Display |  | 10
York | 024 27322 207 | Motor |  | 10
York | 026 41594 000 | Blade |  | 10
York | 025 29139 001 | Transducer |  | 10
York | 025 29583 000 | Transducer |  | 10
York | 371 01226 234 | Harness |  | 10
York | 025 30440 000 | Sensor |  | 10
York | 025 29150 001 | Adapter transducer |  | 10
York | 025 29150 002 | Adapter temp sensor |  | 10
York | 025 32924 000 | Sensor |  | 10
York | 928 06837 000 | O-ring |  | 10
York | 028 15574 000 | O-ring |  | 10
York | 011 00956 Gal | “L” Oil |  | 10
York | 025 41565 000 | Valve |  | 10
York | 024 30933 001 | Motor |  | 10
York | 025 37853 000 | Heater |  | 10
York | 024 34308 000 | Contactor |  | 10
YORK
Please list the available discounts received for general categories by this manufacturer. It should be grouped by product category i.e. motors, capacitors, plenums, etc.
| Product Categories | % Discount from manufacturers for OEM parts

## Other OEM Equipment
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
Other OEM Equipment in the District
The following is a listing of existing manufacturers being used in the District, other than Carrier, Trane and York. This may or may not be purchased directly from OEM representatives depending on the outcome of the bids. The district is looking for direct or indirect purchasing, i.e. independent supplier(s) who can gain or already has access to the below manufacturers. Please fill in the form below if your company can or will be able to provide parts and provide the discount for the listed Manufacturers. This list may increase or decrease over time.
Manufacturer | % Discount from manufacturers for OEM parts
Aaon
ABB
Daiken
Danfoss
Evapco
Herman Nelson
McQuay
Mitsubishi
Modine
Petra
Raypak
Roesler
Teledyne Laars
Toshiba

## General Parts and Supplies
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
General Parts and Supplies
The below is a list of HVAC parts and it represents a majority of our general purchases. Please provide your reference part number in column D (Suppliers Manufacturer/Part Number), if available. For this section, we will accept alternate manufacturers that meet the requirements and specifications of the items listed. We are looking for suppliers who can provide our general needs and comply with the general conditions mentioned in Section 2 of RFP 17-06-12 HVAC Parts and Supplies, Part II.
Manufacturer | Manufacturer's Part Number | Description: | Suppliers Manufacturer/Part Number (if different) | Estimated Annual Usage | Unit Price Each | Extended Price (EAU x Unit Price)
BALDOR | M3116 | 1 HP, 1725 RPM, ODP |  | 5
WEG | 00158OT3E145T | 1.5 HP, 1760 RPM, ODP |  | 8
WEG | 00218OT3E145T | 2 HP, 1800 RPM, ODP |  | 8
BALDOR | EM3211T | 3 HP, 1750 RPM, ODP |  | 16
BALDOR | EM3218T | 5 HP, 1750 RPM, ODP |  | 28
BALDOR | EM3311T | 7.5 HP, 1750 RPM, ODP |  | 16
BALDOR | EM3313T | 10 HP, 1750 RPM, ODP |  | 14
BALDOR | EM2513T | 15 HP, 1750 RPM, ODP |  | 16
BALDOR | EM2515T | 20 HP, 1750 RPM, ODP |  | 7
BALDOR | EM2531T | 25 HP, 1750 RPM, ODP |  | 11
Various A/C Manufacturers | D1044 1/4 115V IEC MTR<br/> | OEM HVACR - Definate Purp. Mtr. |  | 59
Various A/C Manufacturers | 1059 1/6 115 IEC MTR<br/> | OEM HVACR - Definate Purp. Mtr. |  | 9
Various A/C Manufacturers | D827 MOTOR<br/> | OEM HVACR - Definate Purp. Mtr. |  | 7
Various A/C Manufacturers | D970 MOTOR<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 40
Various A/C Manufacturers | D971 MOTOR<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 25
Various A/C Manufacturers | X303 MOTOR<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 9
Various A/C Manufacturers | 1863 48FR 1/4HP 3SPD BLW<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 8
Various A/C Manufacturers | 1864 48FR 1/3HP 3SPD BLW<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 6
Various A/C Manufacturers | 1865 48FR 1/2HP 3SPD BLW<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 6
Various A/C Manufacturers | D972 MOTOR<br/> | 48 FR/ 5 5/8 Diam. - Dir. Drive Mtr |  | 6
Various A/C Manufacturers | 120610 FS-254 FLW SWITCH<br/> | Accessories - 423 Hydronic Parts |  | 23
Various A/C Manufacturers | GA063S PROBE<br/> | Accessories - 423 Hydronic Parts |  | 20
Various A/C Manufacturers | 401488 #79 AIR VENT<br/> | Accessories - 423 Hydronic Parts |  | 13
Various A/C Manufacturers | NO.71 AUTO VENT<br/> | Accessories - 423 Hydronic Parts |  | 10
Various A/C Manufacturers | CR34K6-PFV-875 D06V COMP<br/>D06V | Recip - Air cond Compress. |  | 4
Various A/C Manufacturers | S88-462 OFR1036 MOTOR<br/> | 48 IR/5 5/8 Diam-DBL Shaft Mtrs. |  | 27
Various A/C Manufacturers | S88-224 RA1036 MOTOR<br/> | 48 IR/5 5/8 Diam-DBL Shaft Mtrs. |  | 4
Various A/C Manufacturers | S89-577 5458 MOTOR 1/3- 1/6CONSOL<br/> | 48 Frame-Cond. Fan Mtrs. |  | 10
Various A/C Manufacturers | L40-837 TH3110D1008/U PRO 3000<br/> | Dig. Non-Program. Thermostats |  | 27
Various A/C Manufacturers | L40-112 T8775C1005/U DIG TSTAT<br/> | Dig. Non-Program. Thermostats |  | 22
Various A/C Manufacturers | L40-437 TH5110D1006 NON- PRG STAT<br/> FOCUS PRO | Dig. Non-Program. Thermostats |  | 12
Various A/C Manufacturers | L40-704 TH5220D1003/U FOCUSPRO<br/> | Dig. Non-Program. Thermostats |  | 11
Various A/C Manufacturers | S88-156 X503 MOTOR<br/> | 56 Frame-Cond. Fan Mtrs. |  | 13
Various A/C Manufacturers | H85-401 0386-1323 CST-CPT KIT<br/> | Kits & Dutfits - Welding Equip. |  | 4
Various A/C Manufacturers | G35-206 POC12.5A 12.5/370/OVAL<br/> | Motor Run - Capacitors |  | 23
Various A/C Manufacturers | G35-209 POC20A 20/370/OVAL<br/> | Motor Run - Capacitors |  | 16
Various A/C Manufacturers | G36-288 TOCFD355 35/5 440/370V<br/> | Motor Run - Capacitors |  | 10
Various A/C Manufacturers | G35-385 PRCF20A 20/440/RND<br/> | Motor Run - Capacitors |  | 9
Various A/C Manufacturers | 037-USA2233 45/7.5MFD 370/440VAC<br/> USA2233 45/7.5 | Motor Run - Capacitors |  | 8
Various A/C Manufacturers | P34-542 1089671 BX42 BELT<br/> | BX Belts |  | 16
Various A/C Manufacturers | P34-538 1089663 BX38 BELT<br/> | BX Belts |  | 12
Various A/C Manufacturers | P34-544 2351419 BX44 BELT<br/> | BX Belts |  | 12
Various A/C Manufacturers | P34-548 1089697 BX48 BELT<br/> | BX Belts |  | 12
Various A/C Manufacturers | B14-295 4301-02 ACID SCAVENGER<br/> | Misc. AC/R Supplies |  | 20
Various A/C Manufacturers | L37-310 PF52475 75VA TRANSFMR<br/> | Transformers |  | 26
Various A/C Manufacturers | G35-917 PF4031OEM 40VA TRANSFMR<br/> SPADE AND WIRE ON LEADS | Transformers |  | 19
Various A/C Manufacturers | G22-336 PF42440 40VA TRANSFMR<br/> | Transformers |  | 17
Various A/C Manufacturers | L38-903 AT175F1031/U TRANSFORMER<br/> | Transformers |  | 7
Various A/C Manufacturers | R56-199 95150 SIL-FOS 15% SILVER<br/> | Braz.Alloy-Brazing Soldering |  | 14
Various A/C Manufacturers | L45-052 C340A DP CONTACTOR<br/> | 3 Pole - Definate Purpose Con. |  | 19
Various A/C Manufacturers | L36-690 C25DNF340T CONTACTOR<br/> | 3 Pole - Definate Purpose Con. |  | 9
Various A/C Manufacturers | L46-525 F1C25GNF390A CONTACTOR<br/> | 3 Pole - Definate Purpose Con. |  | 5
Various A/C Manufacturers | L45-053 C340B DP CONTACTOR<br/> | 3 Pole - Definate Purpose Con. |  | 4
Various A/C Manufacturers | P33-352 2454684 AX52 GRIP BELT<br/> | AX Belts |  | 12
Various A/C Manufacturers | P33-380 1089564 AX80 BELT<br/> | AX Belts |  | 12
Various A/C Manufacturers | H26-424 42004 MANIFOLD & HOSES<br/> LARGE GAUGES R22, 410A, 404A | Manifold/Hoses - Refrig. Tools |  | 4
Various A/C Manufacturers | G31-515 KTK-R-15 FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 43
Various A/C Manufacturers | G31-508 FNQ-R-10 FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 33
Various A/C Manufacturers | G31-818 ECSR30 CARTRIDGE FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 25
Various A/C Manufacturers | G31-819 ECSR40 CARTRIDGE FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 21
Various A/C Manufacturers | G31-513 KTK-R-5 FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 16
Various A/C Manufacturers | G31-506 FNQ-R-3 FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 14
Various A/C Manufacturers | G21-623 NON-60 250V CART FUSE<br/> | Cart. Fuses-Elect. Suppl. |  | 6
Various A/C Manufacturers | H27-100 UTLIR2 IR THERMOMETER<br/> | Thermometers-Test Inst. |  | 7
Various A/C Manufacturers | L87-240 9VU35-120 IND GLSS THERM<br/> | Thermometers-Test Inst. |  | 4
Various A/C Manufacturers | S58-974 TFM556 ADJTORS FLX BRCKT<br/> | Mounting Brackets-Mtr. Mount. Parts |  | 50
Various A/C Manufacturers | L86-124 02917501 BRG. BRKT KIT<br/> | Mounting Brackets-Mtr. Mount. Parts |  | 4
Various A/C Manufacturers | S87-903 1479 MOTOR MOUNT<br/> | Mounting Brackets-Mtr. Mount. Parts |  | 4
Various A/C Manufacturers | P53-042 A42/4L440 UNIMATCH VBELT<br/> | A Section Belts |  | 24
Various A/C Manufacturers | P53-039 A39/4L410 UNIMATCH VBELT<br/> | A Section Belts |  | 19
Various A/C Manufacturers | P53-041 A41/4L430 UNIMATCH VBELT<br/> | A Section Belts |  | 18
Various A/C Manufacturers | P53-048 A48/4L500 UNIMATCH VBELT<br/> | A Section Belts |  | 14
Various A/C Manufacturers | P53-052 A52/4L540 UNIMATCH VBELT<br/> | A Section Belts |  | 14
Various A/C Manufacturers | P53-023 A23/4L250 UNIMATCH VBELT<br/> | A Section Belts |  | 13
Various A/C Manufacturers | P53-053 A53/4L550 UNIMATCH VBELT<br/> | A Section Belts |  | 12
Various A/C Manufacturers | P53-037 A37/4L390 UNIMATCH VBELT<br/> | A Section Belts |  | 11
Various A/C Manufacturers | P53-049 A49/4L510 UNIMATCH VBELT<br/> | A Section Belts |  | 11
Various A/C Manufacturers | P52-051 B51/5L540 UNIMATCH VBELT<br/> | B Section Belts |  | 4
Various A/C Manufacturers | P52-053 B53/5L560 UNIMATCH VBELT<br/> | B Section Belts |  | 4
Various A/C Manufacturers | P52-056 B56/5L590 UNIMATCH VBELT<br/> | B Section Belts |  | 4
Various A/C Manufacturers | P52-058 B58/5L610 UNIMATCH VBELT<br/> | B Section Belts |  | 4
Various A/C Manufacturers | P52-064 B64/5L670 UNIMATCH VBELT<br/> | B Section Belts |  | 4
Various A/C Manufacturers | W88-949 WHL-D10X10CW 013316-02<br/>BLOWER WHEEL | Direct Drive - Blower Wheels |  | 6
Various A/C Manufacturers | L45-101 T701 NON-PROG TSTAT<br/> | Elec. Set BK - Thermostats |  | 9
Various A/C Manufacturers | B81-119 VCMA-15ULS 554405 PUMP<br/> | Condensate - 422 Pumps |  | 6
Various A/C Manufacturers | B11-959 19209 SEAL-RIGHT ADAP<br/> | Charging Equip. - Refrig. Tools |  | 4
Various A/C Manufacturers | P36-100 3001450 5VX1000 BELT<br/> | 5VX BELTS |  | 6
Various A/C Manufacturers | P36-450 3758646 5VX450 BELT<br/> | 5VX BELTS |  | 4
Various A/C Manufacturers | B10-126 163S DRYER<br/> | Liquid - Dryers |  | 12
Various A/C Manufacturers | B14-388 DCL053S 023Z5019<br/> | Liquid - Dryers |  | 10
Various A/C Manufacturers | B10-120 083S DRYER<br/>DRIER LIQUID 3/8ODF | Liquid - Dryers |  | 5
Various A/C Manufacturers | G80-652 232032/AF975 2" CLDWTHR<br/> | Duct - Tapes |  | 21
Various A/C Manufacturers | G84-620 93240 ZOOM OILER<br/> | 3 3/8 Diam - Direct Drive Motors |  | 32
Various A/C Manufacturers | B11-780 SLD13-7SVHH DRYER<br/> | Suction - Dryers |  | 5
Various A/C Manufacturers | L37-120 C25BNB230T CONTACTOR<br/> | 2 Pole - Definate Purpose Con |  | 24
Various A/C Manufacturers | L45-038 C240A DP CONTACTOR<br/> | 2 Pole - Definate Purpose Con |  | 19
Various A/C Manufacturers | L45-035 C230A DP CONTACTOR<br/> | 2 Pole - Definate Purpose Con |  | 15
Various A/C Manufacturers | L38-168 TL20-100-4L STD GAUGE<br/> | Standard - 426 Gauges |  | 12
Various A/C Manufacturers | L41-717 4CTS-100 PRESSURE GAUGE<br/> | Standard - 426 Gauges |  | 10
Various A/C Manufacturers | L38-642 LF251-100-4L LIQ GAUGE<br/> | Standard - 426 Gauges |  | 8
Various A/C Manufacturers | G21-352 G21-352 100PK ORG CONN<br/> | Accessories-Electr. Suppl. |  | 6
Various A/C Manufacturers | G31-423 G31-423 100PK BLUE CONN<br/> | Accessories-Electr. Suppl. |  | 4
Various A/C Manufacturers | B12-308 W-48 REP 061235 CORE<br/> | Cores - Dryers |  | 12
Various A/C Manufacturers | B14-472 48-DM 023U1392<br/> | Cores - Dryers |  | 4
Various A/C Manufacturers | B16-903 CSR-U2 5-2-1 HARDSTART<br/> | Hard Start - Compressor Controls |  | 6
Various A/C Manufacturers | B16-902 CSR-U1 5-2-1 HARDSTART<br/> | Hard Start - Compressor Controls |  | 4
Various A/C Manufacturers | L37-813 767A-374 41-406 IGNITOR<br/> | Accessories - Gas Valves |  | 8
Various A/C Manufacturers | L41-488 T87N1000/U NONMERC TSTAT<br/> | Low Voltage Thermostats |  | 6
Various A/C Manufacturers | B16-933 43331 PRESSURE CONTROL<br/> CO-400 CI- 300 | Pressure Controls - Refrig. Control |  | 5
Various A/C Manufacturers | B16-944 43347 PRESSURE CONTROL<br/> CO-25 CI-65 | Pressure Controls - Refrig. Control |  | 4
Various A/C Manufacturers | L38-038 0151M00013SP GAS VALVE<br/> | 24 Volt Comb. - Gas Valves |  | 4
Various A/C Manufacturers | B92-593 6RSX3X4048 36"X48"X1/2"<br/> | Pipe Insulation - AC/R Supplies |  | 4
Various A/C Manufacturers | G31-973 194130057 TERMINAL KIT<br/> | Kits - Terminals |  | 6
Various A/C Manufacturers | B84-458 4182-24 CAL-BLUE | DRAIN PAN TREATMENTS |  | 7
Various A/C Manufacturers | L39-313 RSS-495-210 AIR SWITCH KIT<br/> | Air Flow Humidity Con-Air Qual Prod |  | 5
Various A/C Manufacturers | B82-003 4171-75 EVAP FOAM<br/> | CHEMICALS-ODOR |  | 9
Various A/C Manufacturers | B82-735 4166-75 EVAP- FRESH AERO<br/> | CHEMICALS-ODOR |  | 6
Various A/C Manufacturers | R53-390 095956 ABRASIVE CLOTH<br/> | Acessories-Brazing Soldering |  | 9
Various A/C Manufacturers | H85-542 0916-0122 MAP PRO CYL<br/> | Acessories-Brazing Soldering |  | 5
Various A/C Manufacturers | R53-616 095906 ABRASIVE CLOTH<br/> | Acessories-Brazing Soldering |  | 5
Various A/C Manufacturers | L36-901 90-340 RELAY<br/> | Switching - Relays |  | 14
Various A/C Manufacturers | L37-100 90-380 HVY DTY RELAY<br/> | Gen'l Purpose - Relays |  | 17
Various A/C Manufacturers | B11-834 ICM102B DELAY RELAY<br/> | Time Delays - Relays |  | 10
Various A/C Manufacturers | B14-801 A31003 5PK SOLDER END<br/> | Line Taps - Refrig. Compon. |  | 6
Various A/C Manufacturers | G31-892 7447 SCOURING PAD<br/> | Crimping Tools - Hand Tools |  | 12
Various A/C Manufacturers | L36-881 C25CNB130T CONTACTOR<br/> | 1 Pole - Definate Purp. Con |  | 4
Various A/C Manufacturers | L45-023 C130A DP CONTACTOR<br/> | 1 Pole - Definate Purp. Con |  | 4
Various A/C Manufacturers | L88-478 50344 PD 24X24 FACE ONLY<br/> | Grilles, Registr. Difu - Air Distr. |  | 4
Various A/C Manufacturers | L40-774 C320SNP11 AUX CONTACT<br/> | Accessories - Definate Purpose Con |  | 4
Various A/C Manufacturers | L45-083 P7S AUX. SWITCH<br/> | Accessories - Definate Purpose Con |  | 4
Various A/C Manufacturers | P55-210 3L210 V-BELT<br/> | 3L Belts |  | 15
Various A/C Manufacturers | W69-123 60765804 1/2 HUB<br/> | Accessories - Fan Blades |  | 9
Various A/C Manufacturers | L36-484 AT013 THERMOSTAT<br/> | Adjustable - Snap Disc T-Stats |  | 4
Various A/C Manufacturers | R54-454 B2-4 1/4 GASKET<br/> | Refrig. Flare-Fittings |  | 25
Various A/C Manufacturers | R54-455 B2-6 3/8 GASKET<br/> | Refrig. Flare-Fittings |  | 25
Various A/C Manufacturers | R53-056 U2-4 1/4 UNION<br/> | Refrig. Flare-Fittings |  | 4
Various A/C Manufacturers | L96-501 5039701504 P312- 20X20X1<br/> | Filters - Air Qual. Prod. |  | 12
Various A/C Manufacturers | J27-104 5216051 HOSE CLAMP<br/> | Misc. Supplies - Inst. |  | 20
Various A/C Manufacturers | R54-171 FP4BV-34 3/4" PVC BAL VL<br/> | Valves - Plumb. Prod. |  | 6
Various A/C Manufacturers | P48-180 4L180 BELT<br/> | 4L Belts |  | 6
Various A/C Manufacturers | L38-242 224-4 1/4 UNION TEE<br/> | Brass Compress. -Fittings |  | 6
Various A/C Manufacturers | L37-146 NTC300 LINK<br/> | Restring Kits - Elec. Htg. |  | 19
Various A/C Manufacturers | 10U324 | Shut Off Coupler,Straight |  | 6
Various A/C Manufacturers | 2CMH7 | Air Vent,Float,Max Operating PSI 150 |  | 4
Various A/C Manufacturers | 3KU65 | Manifold,Service |  | 8
Various A/C Manufacturers | 1VNW9 | Electric Space Htr,Fan Forced,120V |  | 37
Various A/C Manufacturers | 3VU33 | Electric Space Heater,Fan Forced,120V, |  | 5
Various A/C Manufacturers | 1ANG9 | Alkaline Based Coil Cleaner,1 Gal,Blue |  | 7
Various A/C Manufacturers | 1ANJ3 | Coil Cleaner,Evaporator,1 Gal,Green |  | 10
Various A/C Manufacturers | 1PTJ3 | Replacement Pump,Port-A-Cool 16 In,4HA15 |  | 7
Various A/C Manufacturers | 22D151 | Pump,Replacement |  | 4
Other Items not listed
The following discounts should be applicable for all other items not shown above and should be different from the manufacturers already listed in the previous tabs. The supplier should group by manufacturer and then by product category (i.e. motors, capacitors, plenums, etc.) and provide the discount received
| Product Manufacturer | Product Categories | % Discount from manufacturers other than the OEM parts identified

## Refrigerants
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
Refrigerants
The following are typical refrigerant types that make up a majority of our purchases. Please provide your reference part number in column D (Suppliers Manufacturer/Part Number), if available. We are looking for suppliers who can provide our general refrigerant needs and comply with the general conditions mentioned in Section 2 of 17-06-12 HVAC Parts and Supplies, Part II.
Manufacturer | Refrigerant Type | Vessel (UOM) | Suppliers Manufacturer/Part Number (if known) | Estimated Annual Usage | Unit Price Each | Extended Price (EAU x Unit Price)
N/A | R-22, Disposable, 30lb (SAP# 4663) | Cylinder |  | 160
N/A | R-22, Disposable, 50lb (SAP # 4664) | Cylinder |  | 43
N/A | R-134A, Disposable, 30lb Non Mobile (SAP# 4665) | Cylinder |  | 375
N/A | R-410 A, Disposable, 25 lb. | Cylinder |  | 97
N/A | R-407 C, Disposable, 25 lb. | Cylinder |  | 4
N/A | R-123 , Disposable, 100 lb. | Cylinder |  | 2
Refrigerants
The following discounts should be added for all other items not listed above.
| Product Manufacturer | % Discount from manufacturers for refrigerants

## Filter Media
17-06-12 HVAC Parts and Supplies FORM F - (PRICE SCHEDULE)
Filter Media
The following are typical filters that make up a majority of our purchases. Please provide your reference part number in column D (Suppliers Manufacturer/Part Number), if available. We are looking for suppliers who can provide our filter needs and comply with the general conditions mentioned in Section 2 of 17-06-12 HVAC Parts and Supplies, Part II.
Media Type | THICKNESS | Minimum Efficiency Reporting Value | Suppliers Manufacturer/Part Number (if known) | ROLL SIZE (L x W) | Total SQ. FT. Per Roll | Price Per Roll
Roll | 1 inch | MERV 8
Roll | 2 inch | MERV 8
Filter Type | Filter Size | Minimum Efficiency Reporting Value | Suppliers Manufacturer/Part Number (if known) | Unit Price Each Filter (not case) | Number of Filters Per Case? | Filter Case Price (unit price x number of filters per Case)
Pleated Filters | 16X20X2 | MERV 8
Pleated Filters | 16X25X2 | MERV 8
Pleated Filters | 20X25X2 | MERV 8
Pleated Filters | 20X24X2 | MERV 8
Pleated Filters | 20X20X2 | MERV 8
Pleated Filters | 12X24X2 | MERV 8
Pleated Filters | 24X24X2 | MERV 8
Pleated Filters | 10X72X1 | MERV 8
Pleated Filters | 20X25X4 | MERV 8
Pleated Filters | 10X60X1 | MERV 8
Pleated Filters | 10X48X1 | MERV 8
Pleated Filters | 16X20X4 | MERV 8
Pleated Filters | 14X28X1 | MERV 8
Pleated Filters | 20X24X4 | MERV 8
Pleated Filters | 20X20X1 | MERV 8
Pleated Filters | 16X20X1 | MERV 8
Pleated Filters | 24X24X4 | MERV 8
Pleated Filters | 16X30X1 | MERV 8
Pleated Filters | 18X18X1 | MERV 8
Pleated Filters | 17X17X1 | MERV 8
Pleated Filters | 16X16X1 | MERV 8
Pleated Filters | 16X24X2 | MERV 8
Pleated Filters | 10X36X1 | MERV 8
Pleated Filters | 16X25X4 | MERV 8
Pleated Filters | 19X22X1 | MERV 8
Pleated Filters | 17X18X1 | MERV 8
Pleated Filters | 25x25x2 | MERV 8
Pleated Filters | 10X72X2 | MERV 8
Pleated Filters | 16X2X4 | MERV 8
Pleated Filters | 15X77X1 | MERV 8
Pleated Filters | 20X20X4 | MERV 8
Pleated Filters | 21X21X1 | MERV 8
Pleated Filters | 12X24X4 | MERV 8
Pleated Filters | 16X25X1 | MERV 8
Pleated Filters | 10X61X1 | MERV 8
Pleated Filters | 18X24X2 | MERV 8
Pleated Filters | 17X19X1 | MERV 8
Pleated Filters | 16X16X2 | MERV 8
Pleated Filters | 20X23X2 | MERV 8
Pleated Filters | 16X24X4 | MERV 8
Pleated Filters | 15X78X1 | MERV 8
Pleated Filters | 14x16x1 | MERV 8
Pleated Filters | 14X14X1 | MERV 8
Pleated Filters | 20X25X1 | MERV 8
Pleated Filters | 14X18X1 | MERV 8
Pleated Filters | 18X21X1 | MERV 8
Pleated Filters | 24X35X1 | MERV 8
Pleated Filters | 24X24X1 | MERV 8
Pleated Filters | 14X44X1 | MERV 8
Pleated Filters | 14X33X1 | MERV 8
Pleated Filters | 11-1/2x24x2 | MERV 8
Pleated Filters | 17X20X1 | MERV 8
Pleated Filters | 14X55X1 | MERV 8
Pleated Filters | 9X27X1 | MERV 8
Pleated Filters | 15X15X1 | MERV 8
Pleated Filters | 15X65X1 | MERV 8
Pleated Filters | 10X12X1 | MERV 8
Pleated Filters | 9-1/2X48X1 | MERV 8
Pleated Filters | 14X30X1 | MERV 8
Pleated Filters | 15X18X1 | MERV 8
Pleated Filters | 16X65X1 | MERV 8
Pleated Filters | 22X22X1 | MERV 8
Pleated Filters | 10X71X1 | MERV 8
Pleated Filters | 12X18X1 | MERV 8
Pleated Filters | 12X24X1 | MERV 8
Pleated Filters | 14X20X2 | MERV 8
Pleated Filters | 18X20X1 | MERV 8
Pleated Filters | 20X24X1 | MERV 8
Pleated Filters | 11-1/2 x 24 x 2 | MERV 8
Pleated Filters | 23X23X2 | MERV 8
Pleated Filters | 24X25X2 | MERV 8
Pleated Filters | 18X33X2 | MERV 8
Pleated Filters | 14X35X1 | MERV 8
Pleated Filters | 18x21 x1 | MERV 8
Pleated Filters | 10X22X1 | MERV 8
Pleated Filters | 14X31X1 | MERV 8
Pleated Filters | 14X20X1 | MERV 8
Pleated Filters | 18X21X2 | MERV 8
Pleated Filters | 9X72X1 | MERV 8
Pleated Filters | 12X24X4 | MERV 13
Pleated Filters | 9X22X1 | MERV 13
Pleated Filters | 12x24x2 | MERV 13
Pleated Filters | 20X20X2 | MERV 13
Pleated Filters | 20X20X4 | MERV 13
Pleated Filters | 20x24x4 | MERV 13
Pleated Filters | 20X24X2 | MERV 13
Pleated Filters | 16x20x2 | MERV 13
Pleated Filters | 24x24x4 | MERV 13
Pleated Filters | 16x20x4 | MERV 13
Pleated Filters | 17x20x1 | MERV 13
Pleated Filters | 16x25x4 | MERV 13
Pleated Filters | 20X25X4 | MERV 13
Pleated Filters | 24x24x2 | MERV 13
Pleated Filters | 16X25X2 | MERV 13
Pleated Filters | 20x25x1 | MERV 13
Pleated Filters | 20X25X2 | MERV 13
Pleated Filters | 18x18x1 | MERV 13
Pleated Filters | 20X24X1 | MERV 13
Pleated Filters | 12x16x2 | MERV 13
Filters
The following discounts should be used for all other items not listed above.
| Product Manufacturer | % Discount from manufacturers for filters